# Prometheus systemd service

# Location: /etc/systemd/system/prometheus.service

# VM1 — 192.168.244.128

[Unit]

Description=Prometheus Monitoring

Wants=network-online.target

After=network-online.target

[Service]

User=prometheus

Group=prometheus

Type=simple

ExecStart=/opt/prometheus/prometheus \

--config.file=/opt/prometheus/prometheus.yml \

--storage.tsdb.path=/opt/prometheus/data

[Install]

WantedBy=multi-user.target